|  |
| --- |
| **2017 Energy Use Data****Village of Marcellus Municipal Buildings over 1,000 square feet** |
| **Property** | **Address** | **Primary Use Type** | **Gross Floor Area (square feet)** | **Site Energy Use Intensity****(kBtu/ft2)** | **Weather Normalized Source EUI (kBtu/ft2)** | **Annual Greenhouse Gas Emissions (Metric Tons CO2e)** | **Energy Performance Score** |
| Municipal Building | 6 Slocombe Ave | Mixed Use Property | 7,558 | 68.1 | 95.5 | 27 | N/A |
| Wastewater Facility | 6 Mile High Drive | Wastewater Treatment Plant | 9,546 | 128.5 | 355.6 | 60.9 | N/A |

Municipal buildings in the Village of Marcellus over 1,000 square feet used a total of 315,116 kWh of electricity and 6908.7 therms of natural gas, emitting a total of 87.9 Metric Tons CO2e.